## LABORATORY MEASUREMENT OF CAPILLARY PRESSURE

# Calculation of Capillary Pressure for the Centrifuge Method

The centrifugal acceleration is a=vq2r, where v is the angular velocity and r is the radius of rotation.  Since vq=2prN, where N is the rotational speed of the centrifuge in revolutions per second, we can write the acceleration as a=4p2N2r.

| Now consider the capillary pressure at a height h in the core sample and note that ri < h < re and dh = -dr. See the figure at right which shows how the capillary pressure and wetting phase saturation vary as a function of the radius of rotation when the core is rotated in the centrifuge. The capillary pressure at h can be written, pc=Dρgh=Dρ4p2N2rh. |  |
| --- | --- |

We must integrate across the length of the core, L, to take into account the variation of the centrifugal field within the core.  This gives,

−pci0dpc=4p2N2Dρrirerdr,orpci=4π2N2Δρre2−ri22.

Since L = re - ri,

pci=4p2N2Dρre−L2L.